2026 • Volume 50 • cdc.gov.au/cdi • Epub date: 20.10.2026 • doi.org/10.33321/cdi.2026.50.008

# Nationwide survey of testing practices for respiratory viruses in Australia in the post COVID-19 pandemic era

Jane L Tuckerman, Andrew J Daley, Danielle F Wurzel, Ian G Barr

© 2026 Commonwealth of Australia as represented by the Australian Centre for Disease Control

ISSN: 2209-6051 Online

This journal is indexed by Index Medicus and Medline.

Creative Commons Licence

This publication is licensed under a Creative Commons Attribution-NonCommercial-NoDerivatives 4.0 International Licence (Licence). You must read and understand the Licence before using any material from this publication.

Restrictions

The Licence does not cover, and there is no permission given for, use of any of the following material found in this publication (if any):

the Commonwealth Coat of Arms (by way of information, the terms under which the Coat of Arms may be used can be found on the Department of Prime Minister and Cabinet website);

any logos (including the Australian Centre for Disease Control’s logo) and trademarks;

any photographs and images;

any signatures; and

any material belonging to third parties.

Disclaimer

Opinions expressed in Communicable Diseases Intelligence are those of the authors and not necessarily those of the Australian Government or the Australian Centre for Disease Control. Data may be subject to revision.

Enquiries

Enquiries regarding any other use of this publication should be addressed to the CDI Editor.

About CDI

Communicable Diseases Intelligence (CDI) is a peer-reviewed scientific journal published by the Australian Centre for Disease Control.

The journal aims to disseminate information on the epidemiology, surveillance, prevention and control of communicable diseases of relevance to Australia and the near region.

Editor: Dr Elise Firman • Deputy Editor: Simon Petrie • Design and Production: Lisa Thompson

Editorial Advisory Board: David Durrheim, Mark Ferson, Clare Huppatz, John Kaldor, Martyn Kirk and Meru Sheel

Submit an Article

Guidelines for authors and details on how to submit your publication is available on our website, or by email to the
CDI Editor.

Contact us

Communicable Diseases Intelligence (CDI)

Australian Centre for Disease Control

PO Box 795, Canberra ACT 2601, Australia

Website: cdc.gov.au/cdi

Email: cdi.editor@cdc.gov.au

# Contents

Abstract	4

Introduction	5

Methods	7

Results	8

Study population	8

Description of study sample	8

Respiratory multiplex PCR testing in 2023	10

Viruses submitted to reference laboratories	11

Molecular based platforms used for respiratory testing	11

Choice of platform for paediatric and adult samples	13

Seasonal differences & changes from 2022 to 2023	14

Testing and reporting of specific viruses	14

Discussion	16

Strength and limitations	17

Conclusions	18

Sources of funding	18

Conflict of interest statement	18

Author details	19

References	20

Appendix A: ‘Navigator’ laboratory survey questions	22

Respiratory multiplex testing in 2023	23

Testing of respiratory samples in your lab in 2022	24

RSV testing	26

Influenza testing	27

Human metapneumovirus (HMPV) testing	28

SARS-CoV-2 testing	29

Platform One	30

Platform Two	31

Platform Three	32

Platform Four	33

Platform Five	34

# Abstract

Background

In the wake of the coronavirus disease 2019 (COVID-19) pandemic, there have been dramatic changes in the testing protocols for respiratory illness. Laboratory identification of respiratory pathogens causing clinical symptoms has become more important in the post-COVID-19 era, both for epidemiological and clinical reasons. This is particularly the case for respiratory syncytial virus (RSV) where a number of preventatives are at the point of clinical translation. The laboratory diagnosis is one of the critical elements in understanding the disease burden of respiratory pathogens and the effectiveness of preventatives. The aims of this study were to understand current laboratory testing and reporting practices across Australia.

## Methods

We undertook a cross-sectional survey of Australian NATA (National Association of Testing Authorities) accredited laboratories to collect data on patterns of laboratory testing, the methods used and their reporting processes. The survey asked participants to report on testing of respiratory samples for 2022 as well as current respiratory multiplex testing in 2023.

## Outcomes

In total, 45 out of 193 eligible laboratories (23%) completed the online survey. The majority of laboratories were from Victoria and New South Wales (31% and 27%, respectively) and most were hospital-based clinical diagnostic laboratories. Overall, 40% of responding laboratories (18/44) reported that > 80% of all tests in the molecular laboratory in 2023 were respiratory multiplex. Influenza viruses, RSV and SARS-CoV-2 were tested most frequently on respiratory multiplex PCR panels. RSV typing (RSV A or RSV B) was included in under a quarter of panels (9/43; 21%), compared to almost two-thirds for influenza typing (influenza A or influenza B: 29/44; 66%). There was considerable variability in testing platforms used, with thirty-seven laboratories using 87 different platforms (18 unique platforms). GeneXpert® (Cepheid) was the most commonly used platform; with a higher concentration of this instrument in laboratories from the eastern states (New South Wales, Queensland, Victoria). Forty percent of laboratories reported changes to respiratory testing procedures/panels in 2023 compared to the previous year. Laboratories were most likely to report results directly to the referring doctor (96–100%) followed by notifying their jurisdictional Department of Health.

Keywords: Laboratory; respiratory virus; multiplex; respiratory syncytial virus (RSV); influenza; reporting; testing

# Introduction

Respiratory syncytial virus (RSV) is the leading cause of hospitalisation in infants. Globally, one study estimated that, in 2015, a total of 33.1 million RSV-related hospital admissions occured in children < 5 years of age annually.1 Approximately 45% of RSV infections are in children younger than 6 months of age, placing considerable burden on healthcare services each year.2,3 A number of preventatives for RSV have recently been approved by the Australian Government Therapeutic Goods Administration, including a long-acting monoclonal antibody for infants, and maternal and elderly vaccines, with others in various stages of development,4–6 including live-attenuated/vector vaccines and mRNA vaccines.7 RSV has two subtypes, RSV A and RSV B. As we move into the era of RSV preventatives, knowledge of the circulating subtypes and their potential to change from season to season will be critical in evaluating the effectiveness of preventatives. For example, a clinical trial of a monoclonal antibody to RSV (suptavumab) showed protection against hospitalisation or lower respiratory tract infection with RSV A, but no protection against RSV B because of a newly acquired mutation in the circulating RSV B viruses.8

In 2021, laboratory-confirmed RSV became nationally notifiable in Australia,9 a measure which will aid tracking the incidence of RSV in the Australian population and will inform a comprehensive understanding of patterns of RSV infections, evolution and spread. These national data sets, through the NNDSS (National Notifiable Disease Surveillance System), will lead to a better understanding of the burden and epidemiology of RSV disease. However, a true national picture was delayed as each jurisdiction implemented surveillance (and preventatives) at different timepoints and robust annual figures were not available until the 2023 calendar year.10

Laboratory identification of the respiratory pathogens, particularly viruses, causing clinical symptoms has become more important in the post-coronavirus disease 2019 (COVID-19) era, both for epidemiological reasons and for clinical treatments, as antiviral drugs are available for influenza and COVID-19. In contrast, management for RSV is generally limited to supportive care. The availability of RSV-specific information enables health authorities to better deal with and anticipate disease outbreaks using mitigating strategies such as patient isolation and cohorting, and informs authorities on the success of vaccination programs. Diagnosis of respiratory infections was traditionally performed by direct immunofluorescence on nasopharyngeal aspirates.11 However, more recently, polymerase chain reaction (PCR) has replaced most of the original methods for detecting respiratory viruses, with a variety of platforms and tests being utilised.

Reference laboratories also play an important role, providing high level services, including supporting surveillance and outbreak investigations, reference testing and research. Reference laboratories are able to handle a wider variety of tests than the general diagnostic laboratories, with reference laboratories having specialist assays that are infrequently used in standard laboratories, as well as access to next generation sequencing.

Prior to the COVID-19 pandemic, there was considerable variation in testing practices, both nationally and by population age groups.12,13 In the wake of the COVID-19 pandemic, there have also been dramatic changes in the testing protocols for respiratory illness; during the pandemic’s period of heightened public health measures (2020–2022), detection of SARS-CoV-2 was prioritised over all other respiratory pathogens, with testing for only this single virus in people presenting with respiratory symptoms. This led to a recommendation by the Victorian Department of Health, in June 2022,14 for clinicians to request a respiratory virus PCR panel (which commonly included influenza virus and RSV in addition to SARS-CoV-2) on patients presenting with respiratory symptoms, particularly in people at increased risk of severe illness. More recently, there has been a reduction in PCR testing for SARS-CoV-2 in Australia relative to the degree of PCR testing performed during the COVID-19 pandemic. Compared to the waves of the pandemic when the seven-day average PCR testing for SARS-CoV-2 was > 150,000 samples (peaking at a seven-day average of 290,000 samples in December 2021), since 2023 the seven-day average for PCR testing for SARS-CoV-2 has remained substantially lower (< 2,000 tests per day).15 From 1 January 2023, under the National COVID-19 Health Management Plan,16 obtaining a Medicare-funded PCR test required a referral from a medical practitioner, and there was no public health requirement for low-risk individuals to seek PCR testing. These changes resulted in a reduction in the number of people tested for SARS-CoV-2 and the opportunity to monitor people for other respiratory pathogen infections. There has also been an increased use of rapid antigen tests (RATs) designed for home testing; these tests now cover not only SARS-CoV-2 but influenza and RSV as well, replacing the need for PCR testing in many situations.

With these shifts in testing practices, it is important to determine if state recommendations are being translated into routine clinical investigations, and what this impact has been on the testing landscape for respiratory infections. Additionally, it is useful to know: whether multiplex testing is being reserved for particular populations; how laboratories are approaching respiratory sample testing; what platforms are used; what pathogens are being detected; and how laboratories are reporting their results.

The reporting processes and pathways expected of laboratories are similar across jurisdictions. State and territory health departments collect information under their public health legislation, with laboratories, rather than individual clinicians, required to report laboratory confirmed notifiable results for influenza and RSV to jurisdictional health departments. Clinicians can report probable cases or in instances where they suspect someone has died. State and territory health departments then report de-identified notifications data to the NNDSS that collects data on more than 70 diseases that are nationally notifiable in Australia including pertussis, COVID-19, RSV and influenza.9

The laboratory diagnosis of RSV and other respiratory infections is the starting point for treatment selection and for understanding the disease burden of RSV and other respiratory pathogens in the community. The aims of this study were therefore to understand laboratory testing and reporting practices across Australia. The primary objectives of the ‘Navigator’ study were:

to determine laboratory testing and reporting practices for RSV (primarily) and other respiratory pathogens (secondarily) in private, public and hospital and outpatient-based pathology laboratories across Australia;

to describe variation by provider type (public or private pathology services) and jurisdiction across Australia; and

to understand laboratories' reporting structures for respiratory viruses including RSV and influenza.

# Methods

This study was a cross-sectional survey reported in consideration of the STROBE recommendations.17

## Participants and recruitment

National Association of Testing Authorities (NATA) accredited laboratories, listed on the NATA website as being ISO 15189 accredited at the time of the survey (mid-2023), were eligible; accredited laboratories were sent an invitation via email or post to participate in the survey. A list of all laboratories located across Australia, either hospital-based (public) or private (community-based), was compiled through the researchers’ networks and the NATA website. There were no exclusions. Laboratory managers, supervisors or other nominated individuals were invited to complete the survey.

There were two approaches to sending the study invitation to laboratories. Firstly, an email was sent by the study team to the listed contact person on the NATA website. A maximum of three (3) email reminders were sent. For laboratories who did not respond to the email invitation, a hard copy ‘study invitation pack’ was mailed. The study invitation pack was addressed to the ‘Laboratory Manager’ as listed on the NATA website and included a cover letter, Information Statement, survey and return prepaid envelope. The study was approved by the Royal Children’s Hospital Human Research Ethics Committee (HREC #92541).

## Data collection

The survey collected data on patterns of laboratory respiratory testing, methods and platforms used, reporting processes and demographic information for the laboratory for 2022 as well as current respiratory multiplex testing in 2023. A copy of the survey questions is provided in Appendix A. Specifically for the reporting of results for RSV, influenza, human metapneumovirus (HMPV) and SARS-CoV-2 testing, we asked: ‘What is the lab reporting process for [virus X]?’ with options: directly to referring Dr; patient; notified to Department of Health; or other.

Each laboratory was invited to complete one survey. To avoid multiple submissions, each laboratory was asked to enter their NATA accreditation number. However, in order to maintain anonymity, the number was not linked to survey responses. Participants could access the survey from a public survey internet link or via the hard copy study invitation pack. The survey could be completed in multiple sittings. However, once submitted, responses could not be accessed or corrected, as survey data were completed anonymously. Participants could provide their contact details (separate to survey responses) to be entered into a draw to win one of three $100 digital Coles gift cards. Participants completed the survey between June 2023 and December 2023. Consent to participate in the survey was implied via survey completion.

## Data analysis

Data were analysed using standard descriptive statistics. Categorical data were presented as medians and their interquartile range (IQR) due to non-parametric distribution. All statistical analyses were performed using statistical software Stata IC 16.0. Respondents’ open text field responses were categorised, where appropriate, with respondent text included verbatim in tables or text.

# Results

Study population

From 204 laboratories identified as potentially eligible to participate, 11 could not be contacted (emails undeliverable (n = 9) or hard copy invitations were returned to sender (n = 2)). From the remaining 193 laboratories, 45 completed the survey (37 online; 8 hard copy), a response rate of 23%. Laboratories with missing data were included in the dataset; denominators clearly indicated when incomplete data were received.

## Description of study sample

Most participating laboratories were from Victoria and New South Wales, comprising 31% and 27%, respectively, of participating laboratories (Figure 1). While the profile of participating laboratories was broadly similar to the full set of laboratories listed on NATA, there was under-representation from Queensland and no participation from laboratories in South Australia. Most survey participants were hospital-based clinical diagnostic laboratories, which also reflected the funding position (Table 1). Respondents, participating on behalf of laboratories, were predominantly clinical microbiologists or laboratory managers (each 37%).

Figure 1: Map showing locations of participating laboratories, by jurisdiction,a Australia

a	Navy and dark green dots denote clusters with number of laboratories included in the cluster, orange markers indicate individual laboratories.

Table 1: Characteristics of survey respondents (N = 45), Australia,a 2023

| Category | Characteristic | Level | Participating laboratories |  | Eligible laboratoriesb |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | n | % | n | % |
| Laboratories | Jurisdiction | Australian Capital Territory | 2 | 4 | 2 | 1.0 |
|  |  | New South Wales | 12 | 27 | 61 | 29.9 |
|  |  | Northern Territory | 1 | 2 | 1 | 0.5 |
|  |  | Queensland | 8 | 18 | 60 | 29.4 |
|  |  | South Australia | 0 | 0 | 17 | 8.3 |
|  |  | Tasmania | 3 | 7 | 6 | 2.9 |
|  |  | Victoria | 14 | 31 | 39 | 19.1 |
|  |  | Western Australia | 5 | 11 | 18 | 8.8 |
|  | Funding position | Private | 11 | 24 | — | — |
|  |  | Public | 34 | 76 | — | — |
|  | Main clientele | Community | 10 | 22 | — | — |
|  |  | Hospital – adult | 5 | 11 | — | — |
|  |  | Hospital – paediatric | 1 | 2 | — | — |
|  |  | Hospital – adult and paediatric | 26 | 58 | — | — |
|  |  | Hospital and community | 2 | 4 | — | — |
|  |  | Otherc | 1 | 2 | — | — |
| Respondents | Respondent’s roled | Clinical microbiologist | 16 | 37 | — | — |
|  |  | Laboratory manager | 16 | 37 | — | — |
|  |  | Senior virology / molecular scientist | 10 | 23 | — | — |
|  |  | Senior microbiologist / molecular scientist | 1 | 2 | — | — |
|  | Length of time in professional role | < 5 years | 11 | 24 | — | — |
|  |  | 5–10 years | 9 | 20 | — | — |
|  |  | > 10 years | 25 | 56 | — | — |

a	Participants with missing data were included in the dataset; incomplete data are indicated throughout the text.

b	Laboratories listed as per NATA website for ISO 15189 and RSV at the time of the survey.

c	listed as Public Health.

d	n = 2 did not provide response.

Respiratory multiplex PCR testing in 2023

Overall, 40% of respondents (18/44) reported that the majority (> 80%) of all tests in the molecular laboratory in 2023 were respiratory multiplex PCR. Of the laboratories reporting specific pathogens included on a respiratory multiplex panel in 2023 (n = 44), all reported influenza virus, RSV and SARS-CoV-2 (Table 2). Parainfluenza, human metapneumovirus, human adenovirus and human rhinovirus were included in over half (24/44; 57%), while enterovirus, seasonal coronaviruses and human parechovirus were included to a much lesser extent. Bordetella pertussis was the most included bacterial pathogen.

Table 2: Pathogens included on respiratory multiplex in 2023, by participating laboratories (N = 44), Australia

| Respiratory pathogen | n | % |
| --- | --- | --- |
| Influenza | 44 | 100 |
| RSV | 44 | 100 |
| SARS-CoV-2 | 44 | 100 |
| Parainfluenza | 24 | 54 |
| Human metapneumovirus | 24 | 54 |
| Human adenovirus | 24 | 54 |
| Human rhinovirus | 24 | 54 |
| Enterovirus | 15 | 34 |
| Bacteriala | 13 | 30 |
| Seasonal coronaviruses | 6 | 14 |
| Parechovirus | 4 | 9 |
| Otherb | 2 | 5 |

a	Bacterial pathogens included: Bordetella pertussis; Bordetella holmesii; Bordetella parapertussis; Mycoplasma pneumoniae; Chlamydophila pneumoniae; Legionella pneumoniae.

b	Other pathogens included: MERS-CoV.

Typing for RSV was less likely to be included than influenza typing on the multiplex panels. Of panels including influenza, almost two-thirds included typing (influenza A or influenza B) (29/44; 66%), while fewer than a quarter (N = 9/43; 21%) included RSV typing (RSV A or RSV B). Of note, some laboratories had missing data for typing (influenza n = 1; RSV n = 2). Of the laboratories undertaking multiplex testing in 2023, almost all (N = 43/44; 98%) used real-time PCR for respiratory multiplex assay; a smaller proportion (6/44; 14%) used a BioFire® FilmArray platform (BioMerieux) in addition or alone. This was an increase in the use of real-time PCR compared to 2022, when 92% (36/39) used real-time PCR.

## Viruses submitted to reference laboratories

In total, 32 laboratories responded to this question, with 69% of respondents (22/32) reporting that virus samples were sent to a reference laboratory (Table 3). Of viruses tested, influenza and SARS-CoV-2 were most likely to be sent to a reference laboratory.

Table 3: Viruses sent to reference laboratories, by participating laboratories (N = 32), Australia, 2023

| Pathogen | n | % |
| --- | --- | --- |
| Influenza | 14 | 44 |
| RSV | 3 | 9 |
| Parainfluenza | 5 | 16 |
| SARS-CoV-2 | 14 | 44 |
| None | 10 | 31 |
| Other | 5 | 16 |

## Molecular based platforms used for respiratory testing

The majority of labs (38/44; 86%) reported the number of molecular based platforms for respiratory testing at their laboratory. Of these, one (1) provided no further data, while another four (4) reported a higher number of platforms used than data provided. The number of platforms in each laboratory was in the range 1–5, with a median of 3 platforms (laboratories using one platform n = 9; two platforms n = 12; three platforms n = 7; four platforms n = 6; five platforms n = 3). Of the 37 laboratories, five laboratories reported the name of the assay used rather than the platform name (for 1 or more platform); these included manufacturers (Seegene n = 4; in-house n = 1; Roche n = 1). This left 87 known instances of 18 specified platforms.

Of the 87 platforms, where the platform/manufacturer and test details were known, GeneXpert® (Cepheid) was the most frequently used, with most laboratories using this platform (31/37; 83%), followed by Cobas® Liat® (Roche), which was used in 13 laboratories (35%; some used both platforms). Other platforms were used by smaller numbers of laboratories (Table 4). Over half of the laboratories using GeneXpert® (Cepheid) (n = 25) were from the eastern states (New South Wales, Queensland, Victoria); among the eastern states,the highest concentration of participating laboratories using GeneXpert® (Cepheid) was in New South Wales (n = 10), followed by Victoria (n = 9) and Queensland (n = 6). In terms of platform preferences and use, those using fewer platforms in their laboratory (i.e., one or two platforms) preferenced the GeneXpert® platform, with 6/9 laboratories using one platform and 11/12 laboratories using two platforms reporting use of the GeneXpert® platform. Those using three or more platforms included greater diversity in the combinations of platforms (Table 5).

Table 4: Platforms used by laboratories (N = 37), Australia, 2023

| Platform name | Manufacturer | Number of laboratories |
| --- | --- | --- |
| GeneXpert® | Cepheid | 31 |
| Cobas® Liat® | Roche | 13 |
| AusDiagnosticsa | AusDiagnostics | 9 |
| BD Max™ | Becton Dickinson | 6 |
| Panther® | Hologic | 6 |
| Cobas® 6800 | Roche | 5 |
| Alinity M | Abbott | 3 |
| CFX96™ | Seegene | 3 |
| Lightcycler® 480 | Roche | 2 |
| BGI Linegene | Beijing Genomics Institute (BGI) | 1 |
| BioFire® FilmArray® | bioMerieux | 1 |
| CFX96™ | Biorad | 1 |
| Myra Mic | Bio Molecular Systems (BMS) | 1 |
| Liaison® MDV | Diasorin | 1 |
| GS1000 | Genetic Signatures | 1 |
| Seegene Starlet™ | Seegene | 1 |
| ABI™ 7500 | Thermo Fisher | 1 |
| ViiA™ 7 | Thermo Fisher | 1 |

a	AusDiagnostics platforms included UltraPlex (n = 1), HighPlex (n = 5) and not further specified (n = 3), used by nine separate laboratories.

Table 5: Platforms used by laboratories, by number of platforms in the laboratory, Australia, 2023

| Platform (manufacturer) | Number of platforms used by laboratory |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | 1 | 2 | 3 | 4 | 5 |
| GeneXpert® (Cepheid) | ✔ | ✔ | ✔ | ✔ | ✔ |
| Cobas® Liat® (Roche) |  | ✔ | ✔ | ✔ | ✔ |
| Various platformsa (AusDiagnostics) | ✔ |  | ✔ | ✔ | ✔ |
| BD Max™ (Becton Dickinson) |  | ✔ | ✔ | ✔ |  |
| Panther® (Hologic) |  | ✔ | ✔ | ✔ | ✔ |
| Cobas® 6800 (Roche) | ✔ |  |  | ✔ | ✔ |
| Alinity M (Abbott) |  |  | ✔ | ✔ |  |
| CFX96 (Seegene) | ✔ |  | ✔ |  | ✔ |
| LightCycler® 480 (Roche) |  |  | ✔ |  | ✔ |
| BGI Linegene (Beijing Genomics Institute) |  |  |  | ✔ |  |
| BioFire® FilmArray® (bioMerieux) |  |  |  |  | ✔ |
| CFX96™ (Biorad) |  |  |  | ✔ |  |
| Myra Mic (BMS) |  | ✔ |  |  |  |
| Liaison® MDV (Diasorin) |  |  |  |  | ✔ |
| GS1000 (Genetic Signatures) |  |  |  | ✔ |  |
| Seegene STARlet™ (Seegene) |  |  |  | ✔ |  |
| ABI™ 7500 (Thermo Fisher) |  | ✔ |  |  |  |
| ViiA™ 7 (Thermo Fisher) |  | ✔ |  |  |  |
| Unknown |  | ✔ | ✔ | ✔ | ✔ |

a	AusDiagnostics platforms included UltraPlex (n = 1), HighPlex (n = 5) and not further specified (n = 3), used by nine separate laboratories.

## Choice of platform for paediatric and adult samples

Four laboratories reported differences in the choice of platform/test for paediatric and adult samples (4/33; 12%). These were all laboratories servicing hospital patients: adult hospital (n = 1) and combined adult/paediatric hospital (n = 3). These differences appear to have been dominated by the need to include RSV and influenza testing for paediatric samples (Table 6). Overall, the strongest influence guiding which test/assay was utilised by laboratories was a combination of processing demand / turnaround time (17/33; 52%), followed by clinician request (11/33; 33%) and lastly laboratory preference/ practice (5/33; 15%).

We asked: What assays did your lab use in 2022? Of the 37 laboratories, 29/37 reported solely using commercial assays and while 8/37 reported using a combination, none reported using in-house only.

Table 6: Approach for paediatric and adult samples, when a difference was reported (N = 4), Australia, 2023

| Hospital | Approach for children | Approach for adults |
| --- | --- | --- |
| 1 | Test for RSV + Flu A/B and SARS-CoV-2 | Preoperative – SARS-CoV-2 only; others test for all |
| 2 | GeneXpert – includes RSV | Cobas Liat |
| 3 | GeneXpert – includes RSV | Either analyser, depending on urgency of results |
| 4 | GeneXpert – includes RSV | BD Max or Cobas Liat (no RSV) |

## Seasonal differences & changes from 2022 to 2023

Over half of responding laboratories (18/33; 55%) had seasonal changes to testing patterns. In terms of changes to the previous year, 40% (13/32) reported that they had made changes to their respiratory testing procedures/panels between 2022 and 2023. In general, these changes included the addition or increased use of triplex or multiplex panels, combining/expanding assays to include SARS-CoV-2 and phasing out the use of in-house assay or SARS-CoV-2 only testing. Other laboratories had changed the platforms used for specific patients, for example using one platform to streamline hospital cases and another for rapid hospital cases; and others had ‘retired’ particular platforms altogether.

## Testing and reporting of specific viruses

Routine typing/subtyping of viruses was uncommon: for RSV, influenza and HMPV respectively, routine typing and/or subtyping was undertaken by only 7 (21%), 12 (38%), and 5 (17%) laboratories. Of those that performed typing, only half routinely released these typing results (RSV: 3/7; influenza: 7/12) and to a lesser extent HMPV (1/5). Laboratories were most likely to report results directly to the referring doctor (96–100%) followed by notification of their jurisdictional Department of Health, with RSV (21/32; 65%), influenza (23/32; 74%) and SARS-CoV-2 (21/32; 65%) the most reported viruses. HMPV (11%) was least likely to be reported, noting however that HMPV is not a notifiable disease (Table 7). Smaller numbers across all viruses (RSV, influenza, HPMV, SARS-CoV-2) were reported directly to patients. Several laboratories reported not notifying results to the relevant health department (and thus the NNDSS) for RSV (10/32; 31%), influenza (7/29; 24%) and SARS-CoV-2 (9/29; 31%); however, this may have been due to the person completing the survey not having awareness of the data transfer procedures in place in that laboratory.

### RSV testing and reporting

Just over half of laboratories (17/33; 51%) reported always testing for RSV in respiratory samples in 2022. Others only did so if a multiplex test was used (9/33); with a specific clinician request (7/33); or for other reported reasons (5/33), where such other reasons included testing for RSV if the sample was deemed to be clinically indicated (i.e. from someone < 18 years); if using a certain platform; and to fit with workflow and seasonal demands. The number of laboratories reporting that they were routinely testing for RSV in respiratory samples was higher in 2023 (27/32; 84%) than in 2022, with 11/16 laboratories which had not been routinely testing in 2022 now doing so.

Table 7: Testing and reporting of specific viruses (RSV, influenza, HMPV, SARS-CoV-2) by participating laboratories, Australia, 2023

| Virusa | Nb | Number of tests performed (at time of survey) |  |  |  | Typingf |  |  |  |  | Lab reporting processh |  |  |  |  |  |  |  | Report results on publicly available websitej |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Within last 6 monthsc |  | Within last 12 monthse |  | Routinely undertaking typing |  | Routinely releasing typing resultsg |  | Proportion of positives typed/subtyped | To doctor |  | To patient |  | To Department |  | Otheri |  |  |  |
|  |  | Median | IQRd | Median | IQRd | n | % | n | % | % | n | % | n | % | n | % | n | % | n | % |
| RSV | 33 | 5,000 | 1,850–10,000 | 9.187 | 3,384–20,000 | 7 | 21 | 3/7 | 42 | 85–100k | 32 | 100 | 5 | 15 | 21 | 65 | 2 | 6 | 6 | 20 |
| Influenza | 32 | 6,923 | 3,170–12,000 | 10,000 | 6,000–20,235 | 12 | 38 | 7/12 | 59 | 25–100l | 30 | 96 | 5 | 16 | 23 | 74 | 2 | 6 | 6 | 20 |
| HMPV | 30 | 400 | 0–5,000 | 1,400 | 0–10,000 | 5 | 17 | 1/5 | 20 | m | 18 | 100 | 0 | 0 | 2 | 11 | 1 | 5 | — | — |
| SARS-CoV-2 | 32 | 6,445 | 2,500–23,202 | 14,312 | 5,970–52,650 | — | — | — | — | — | 31 | 97 | 11 | 34 | 21 | 65 | 1 | 3 | 7 | 24 |

a	RSV: Respiratory syncytial virus; HMPV: human metapneumovirus; SARS-CoV-2: severe acute respiratory syndrome coronavirus 2.

b	Number of participating laboratories.

c	Number of laboratories providing responses: RSV (n = 28); influenza (n = 26); HMPV (n = 30); SARS-CoV-2 (n = 27).

d	IQR: interquartile range.

e	Number of laboratories providing responses: RSV (n = 29); influenza (n = 27); HMPV (n = 31); SARS-CoV-2 (n = 28).

f	Typing: RSV (type A or B); influenza A subtype (i.e. H1N1, H3N2); HMPV (sub group testing); SARS-CoV-2 (not asked).

g	Proportion calculated is of those routinely releasing typing results.

h	Number of laboratories providing responses: RSV (n = 32); influenza (n = 31); HMPV (n = 18); SARS-CoV-2 (n = 32).

i	Other: RSV: infection control (n = 1); planning to text (short message service, SMS) to patient (n = 1); influenza: infection control (n = 1); planning to SMS to patient (n = 1); HMPV: planning to SMS to patient (n = 1); SARS-CoV-2: infection control (n = 1).

j	Number of laboratories providing responses: RSV (n = 30); influenza (n = 30); HMPV (not asked); SARS-CoV-2 (n = 29).

k	Observed range (%); ‘season variation’ was evident.

l	Observed range (%); median proportion of positives typed/subtyped by laboratory was 90%.

m	Two of five typing laboratories typed/subtyped all positives (100%); the remaining three typing laboratories did not type/subtype any positives (0%).

Discussion

This study provides a snapshot of laboratory-level respiratory pathogen testing patterns, including multiplex panels, commercial platforms and reporting processes for laboratories in the private and public sector across Australia. We surveyed 45 NATA accredited laboratories, responsible for performing testing for RSV and other respiratory viruses. The survey findings highlight the high degree of variability in testing and reporting practices by laboratories across Australia.

There were 18 different testing platforms used across the surveyed laboratories. In smaller laboratories, such as those using only 1–2 platforms, there was a reliance on smaller lower throughput platforms such as Cepheid GeneXpert, BioFire FilmArray and Cobas Liat. Higher throughput platforms for molecular respiratory testing, such as Cobas 6800/8800 or Panther, were only used in larger laboratories utilising 3 to 5 platforms. However, these were frequently also supplemented with smaller platforms. The differences in the range of platforms used in larger laboratories possibly reflects the need to scale to meet the demands due to the COVID-19 pandemic and the need for rapid and accurate detection of SARS-CoV-2. It was also evident that testing practices were different between jurisdictions. Some jurisdictions—for example, the Australian Capital Territory, the Northern Territory and Tasmania—had more centralised testing and larger throughput platforms were utilised, while other laboratories in decentralised settings were more likely to have smaller throughput platforms (for example New South Wales and Queensland).

The use of smaller throughput platforms provides advantages such as rapid turnaround time, ease of use, portability, and accurate detection of respiratory viruses such as influenza, RSV, and SARS-CoV-2, making them valuable tools for molecular respiratory testing in various healthcare settings. In contrast, the larger throughput platforms were used in centralised clinical and reference laboratories for high-volume molecular respiratory testing. They are equipped with automation, scalability, and a wide range of assay options to meet the demands of comprehensive diagnostic testing. Our study noted a preference for use of commercial multiplex panels relative to in-house. Although our survey did not examine the reasons underpinning laboratory assay selection, commercial multiplex panels are supplied as Australian Register of Therapeutic Goods (ARTG) listed products, offer the ability to detect multiple pathogens from a single specimen and may provide operational efficiencies compared with multiple individual tests.18,19 The extent to which regulatory, operational, economic, or other factors influence assay choice in Australian laboratories warrants further investigation.

While most laboratories are now multiplexing and typing for influenza A/B, a considerable number do not include RSV A/B subtyping. This is possibly driven by the frequent use of GeneXpert, which does not include type for RSV. However, GeneXpert appears to be the preference for testing paediatric samples. Typing and sub-typing for influenza and RSV allows epidemiologists and public health officials to understand the epidemic dynamics of distinct types/sub-types. This in turn enables more robust predictions of epidemic activity during winter, particularly predicting whether epidemic peaks are expected of multiple viruses which can flow on to increased health system pressures. The need for RSV subtyping will be particularly important as we move into the era of RSV preventatives and the need to ensure that both RSV types are effectively covered by both vaccines and monoclonal antibody preventatives. While the level of subtyping varies between countries, for WHO RSV Global Surveillance countries, the current WHO recommendation is, where possible, to subtype all RSV positive samples. In 2024, only two Australian states (Queensland and Western Australia) committed to universal 2024 RSV preventive programs with nirsevimab for all infants,20,21, along with New South Wales implementing an RSV preventive program for vulnerable infants.22 In 2025, an Australia-wide RSV infant vaccination program has been introduced, with a national federally funded free maternal RSV vaccination program and an accompanying state-funded free program for the use of nirsevimab for infants whose mothers were not vaccinated or for those infants at increased risk from RSV infections. Accordingly, this information will be important to collect now and into the future to determine the ongoing effectiveness of these cost-intensive programs.

This study’s finding, that several laboratories did not report to the relevant health department (and thus the NNDSS) for RSV, influenza and SARS-CoV-2, is concerning. Nonetheless, this finding should be interpreted with some caution, given this was a snapshot of laboratories and the person completing the survey may not have known the systems in place at their facility for automatically uploading of data to state based databases. However, in all jurisdictions, pathology laboratories are required to report laboratory confirmed notifiable diseases such as influenza, COVID-19 and RSV directly to their respective health department. Like medical clinics, this potentially occurs with software that enables direct, automated reporting to the relevant health department. For example, the Public Health Event Surveillance System (PHESS) in Victoria or Notifiable Conditions Information Management System (NCIMS) in New South Wales can both receive electronic laboratory notifications automatically.

## Strength and limitations

The national approach is a key strength of this investigation. It provided a snapshot of testing and laboratory practices from a diverse cross-section of laboratories, including metropolitan/regional, public/private laboratories Australia wide. There were some limitations to this project. The response rate was low (23%) and we did not receive any responses from South Australia. Additional data would have enabled a more comprehensive assessment of testing and laboratory practices, particularly to explore secondary outcomes. Additionally, we asked questions relating to reporting (specifically laboratories reporting results for RSV, influenza and SARS-CoV-2 to relevant health departments). These questions may have been misinterpreted or answered incorrectly and these should be interpreted with caution. We were unable to capture reasons for non-participation. While we cannot be certain all intended recipients received the survey, there may also have been better participation from those with a greater interest in respiratory testing or in other unmeasured ways. This means it is possible that survey participants had higher level of interest in this topic or research than those who did not participate.

# Conclusions

This national snapshot of laboratories, performed in the second half of 2023, highlighted diverse testing and reporting practices for respiratory specimens, with 18 unique platforms used across the surveyed laboratories. Smaller laboratories (using only 1–2 platforms) preferred the smaller throughput platforms for molecular respiratory testing, with larger throughput platforms only reported from laboratories using a total of 3–5 platforms. A considerable number of laboratories did not include RSV typing with respiratory multiplex testing and there were discrepancies in the way results were reported. The need for RSV subtyping and accurate data on cases will be paramount as we have now moved into the era of RSV preventatives, which may change the molecular epidemiology of RSV and which requires the careful analysis of RSV that are circulating to ensure the preventatives are effective against both RSV A and RSV B. Influenza A would also benefit from increased subtyping as a way of identifying future spillovers of influenza from birds and animals to humans, thus enhancing our pandemic preparedness.

# Sources of funding

This investigator-led study was supported financially by GlaxoSmithKline (GSK). GSK did not have a role in the study design, data collection, interpretation of findings or dissemination.

# Conflict of interest statement

Competing interests: no relevant disclosures.

# Author details

Dr Jane L Tuckerman,1,2 (position: Senior Research Officer)

Prof Andrew J Daley,2,3 (position: Head, Department of Microbiology)

Dr Danielle F Wurzel,1,2,3,4 (position: Respiratory Consultant, Department of Respiratory and Sleep Medicine)

Prof Ian G Barr5,6 (position: Deputy Director of the WHO Collaborating Centre for Reference and Research on Influenza)

Murdoch Children’s Research Institute, Victoria, Australia

Department of Paediatrics, University of Melbourne, Victoria, Australia

Royal Children’s Hospital, Melbourne, Victoria, Australia

Allergy and Lung Health Unit, School of Population and Global Health, The University of Melbourne, Victoria, Australia

World Health Organization (WHO) Collaborating Centre for Reference and Research on Influenza, The Peter Doherty Institute for Infection and Immunity, Melbourne, Victoria, Australia

Department of Microbiology and Immunology, The Peter Doherty Institute for Infection and Immunity, The University of Melbourne, Melbourne, Victoria, Australia

Corresponding author

Dr Jane Tuckerman

Murdoch Children's Research Institute

Royal Children's Hospital

50 Flemington Road

Parkville VIC 3052

Australia

Email: jane.tuckerman@mcri.edu.au

# References

- Li Y, Wang X, Blau DM, Caballero MT, Feikin DR, Gill CJ et al. Global, regional, and national disease burden estimates of acute lower respiratory infections due to respiratory syncytial virus in children younger than 5 years in 2019: a systematic analysis. Lancet. 2022;399(10340):2047–64. doi: https://doi.org/10.1016/S0140-6736(22)00478-0.

- Brusco NK, Alafaci A, Tuckerman J, Frawley H, Pratt J, Daley AJ et al. The 2018 annual cost burden for children under five years of age hospitalised with respiratory syncytial virus in Australia. Commun Dis Intell (2018). 2022;46. doi: https://doi.org/10.33321/cdi.2022.46.5.

- Ranmuthugala G, Brown L, Lidbury BA. Respiratory syncytial virus—the unrecognised cause of health and economic burden among young children in Australia. Commun Dis Intell Q Rep. 2011;35(2):177–84.

- Esposito S, Di Pietro G. Respiratory syncytial virus vaccines: an update on those in the immediate pipeline. Future Microbiol. 2016;11(11):1479–90. 
doi: https://doi.org/10.2217/fmb-2016-0106.

- Gurtman A. Safety and efficacy of bivalent RSV prefusion F vaccine in Adults ≥ 60 years of age. Atlanta: United States Government Department of Health and Human Services, Centers for Disease Control and Prevention; 20 October 2022. [Accessed in October 2022.] Available from: https://stacks.cdc.gov/view/cdc/122370.

- GSK. GSK’s older adult respiratory syncytial virus (RSV) vaccine candidate shows 94.1% reduction in severe RSV disease and overall vaccine efficacy of 82.6% in pivotal trial. [Media release.] London: GSK; 13 October 2022. [Accessed in October 2022.] Available from: https://www.gsk.com/en-gb/media/press-releases/gsk-s-older-adult-respiratory-syncytial-virus-rsv-vaccine-candidate/.

- PATH. RSV Vaccine and mAb Snapshot. [Webpage.] Seattle: PATH; January 2023. Available from: https://www.path.org/resources/rsv-vaccine-and-mab-snapshot/.

- Simões EAF, Forleo-Neto E, Geba GP Kamal M, Yang F, Cicirello H et al. Suptavumab for the prevention of medically attended respiratory syncytial virus infection in preterm infants. Clin Infect Dis. 2021;73(11):e4400–8. doi: https://doi.org/10.1093/cid/ciaa951.

- Australian Government Department of Health and Aged Care. Nationally notifiable diseases. [Webpage.] Canberra: Australian Government Department of Health and Aged Care; July 2022. Available from: https://www.health.gov.au/topics/communicable-diseases/nationally-notifiable-diseases.

- Australian Government Department of Health and Aged Care, National Notifiable Disease Surveillance System. National Communicable Disease Surveillance Dashboard. [Webpage.] Canberra: Australian Government Department of Health and Aged Care; 14 December 2022. Available from: https://nindss.health.gov.au/pbi-dashboard/.

- Australian Government Department of Health and Aged Care, Public Health Laboratory Network (PHLN). Respiratory syncytial virus (RSV) – Laboratory case definition. Canberra: PHLN; 7 August 2000. [Accessed in January 2023.] Available from: https://www.health.gov.au/sites/default/files/documents/2022/06/respiratory-syncytial-virus-laboratory-case-definition.pdf.

- Lim FJ, Blyth CC, Keil AD, de Klerk N, Moore HC. Using record linkage to examine testing patterns for respiratory viruses among children born in Western Australia. Epidemiol Infect. 2017;145(8):1688–98. doi: https://doi.org/10.1017/S0950268817000413.

- Ching NS, Kotsanas D, Easton ML, Francis MJ, Korman TM, Buttery JP. Respiratory virus detection and co-infection in children and adults in a large Australian hospital in 2009–2015. J Paediatr Child Health. 2018;54(12):1321–8. doi: https://doi.org/10.1111/jpc.14076.

- Victoria State Government Department of Health (Victoria Health). Testing for respiratory pathogens: Health advisory 220615. [Webpage.] Melbourne: Victoria Health; 15 June 2022. Available from: https://www.health.vic.gov.au/health-advisories/testing-for-respiratory-pathogens.

- COVID Live. COVID LIVE. [Website.] 2020. [Accessed in October 2024.] Available from: https://covidlive.com.au/report/daily-tests/aus#2020.

- Australian Government. National COVID-19 Health Management Plan for 2023. Canberra: Australian Government; December 2022. Available from: https://www.health.gov.au/sites/default/files/2022-12/national-covid-19-health-management-plan-for-2023_0.pdf.

- Vandenbroucke JP, von Elm E, Altman DG Gøtzsche PC, Mulrow CD, Pocock SJ et al. Strengthening the Reporting of Observational Studies in Epidemiology (STROBE): explanation and elaboration. Int J Surg. 2014;12(12):1500–24. doi: https://doi.org/10.1016/j.ijsu.2014.07.014.

- Ramanan P, Bryson AL, Binnicker MJ, Pritt BS, Patel R. Syndromic panel-based testing in clinical microbiology. Clin Microbiol Rev. 2017;31(1):e00024-17. doi: https://doi.org/10.1128/cmr.00024-17.

- Vaugon E, Dien Bard J. Revisiting diagnostics: multiplex infectious disease panels. Clin Microbiol Infect. 2026;32(2):203–6. doi: https://doi.org/10.1016/j.cmi.2025.10.026.

- Government of Western Australia Department of Health (WA Health). Respiratory Syncytial Virus (RSV) immunisation. [Webpage.] Perth: WA Health; 2024. Available from: https://www.health.wa.gov.au/Articles/N_R/Respiratory-syncytial-virus-RSV-immunisation.

- Queensland Government Department of Health (Queensland Health). Queensland Paediatric Respiratory Syncytial Virus Prevention Program. [Webpage.] Brisbane: Queensland Health; 2024. Available from: https://www.health.qld.gov.au/clinical-practice/guidelines-procedures/diseases-infection/immunisation/paediatric-rsv-prevention-program.

- New South Wales Government Department of Health (NSW Health). NSW Health RSV (respiratory syncytial virus) vulnerable babies program. [Webpage.] Sydney: NSW Health; 2024. Available from: https://www.health.nsw.gov.au/immunisation/Pages/respiratory-syncytial-virus.aspx.

Appendix A: ‘Navigator’ laboratory survey questions

What is your role at the lab?

Clinical Microbiologist

Laboratory Manager

Senior Virology/ Molecular Scientist

Virology/ Molecular Scientist

Medical Technologist/ Laboratory Technician

Infection control practitioner

Other . . . . .

What is the postcode where the laboratory is located? . . . . . . . . . .

What is your laboratories main clientele?

Community

Hospital – adult

Hospital – paediatric

Hospital – adult & paediatric

Other . . . . .

Is your lab private or public?

Private

Public

How long have you worked in this professional role?

< 5 years

5–10 years

> 10 years

Including yourself, how many staff members work in the molecular or virology lab (EFT equivalent)?

. . . . . . . . . .

What hours does your Virology/ Molecular Microbiology Laboratory operate? [Select all that apply]

Business hours

Extended weekday hours. . . . .

Saturdays

Sundays

Public Holidays

Extended hours all days . . . . .

## Respiratory multiplex testing in 2023

What proportion of all tests in the molecular lab 2023 are respiratory multiplex?

< 20%

20–40%

40–60%

60–80%

> 80%

What respiratory pathogens are included on a multiplex at your lab in 2023?

Influenza

Parainfluenza

RSV

Human Metapneumovirus

Human Adenovirus

Human Rhinovirus

Enterovirus

Parechovirus

SARS-CoV-2

Seasonal Coronaviruses

Bacterial . . . . .

Other . . . . .

Does the multiplex include subtyping for influenza A and B?

Yes

No

Does the multiplex include subtyping for RSV types A and B?

Yes

No

What assays does your lab use in 2023 for a respiratory multiplex?

Real time PCR

Fluorescent bead microarray

DNA microarray

Antibody microarray

Protein microarray

FilmArray

Other . . . . .

Testing of respiratory samples in your lab in 2022

What type of testing did you perform for the detection of respiratory viruses?

Real time PCR

Fluorescent bead microarray

DNA microarray

Antibody microarray

Protein microarray

FilmArray

Other . . . . .

How many molecular based platforms were used for respiratory testing in your lab during 2022?

. . . . . . . . . .

How many molecular based platforms were used for respiratory testing in your lab during 2022?

1

2

3

4

5+

What assays did your lab use in 2022?

In-house developed

Commercial

Both

Is the choice of platform/test different for paediatric and adult samples?

Yes

No

What is the testing approach for children? . . . . . . . . . .

What is the testing approach for adults? . . . . . . . . . .

What guides your practice around what lab test/ assay to use?

As requested by clinician

Lab preference/ practice

Determined by combination demand/ time

Do your testing patterns change from summer to winter? e.g. more multiplex assays are performed in winter vs summer?

Yes

No

Have you made any changes to your respiratory testing procedures/panels in 2023? [compared to 2022]

No changes

Added more test viruses/pathogens . . . . .

Reduced test viruses/pathogens . . . . .

Other . . . . .

Please select which virus samples are sent to a reference laboratory?

None

Influenza

RSV

Parainfluenza

SARS-CoV-2

Other . . . . .

RSV testing

In 2022...did your lab routinely (always) test for RSV in respiratory samples?

Yes

No

When did you test for RSV in 2022

Only if a multiplex test is used

Only on a specific clinician request

Other . . . . .

Never

Are you routinely testing for RSV in 2023?

Yes

No

How many tests were undertaken at your lab for RSV? [Please estimate if unknown]

In the last 6 months: . . . . . . . . . .

In the last 12 months: . . . . . . . . . .

Do you routinely undertake RSV typing e.g. determining if it is RSV A or RSV B?

Yes

No

Do you routinely release results of RSV typing?

Yes

No

What proportion of RSV positive samples get typed? (RSV-A or RSV-B) . . . . . . . . . . (Enter %)

What is the lab reporting process for RSV?

Directly to referring Dr

Patient

Notified to Department of Health

Other . . . . .

Are positive RSV results reported to the Australian National Notifiable Diseases Surveillance System?

Yes

No

When did you commence reporting to the NNDSS for RSV? [enter month and year]

. . . . . . . . . . . . . . . (Please enter month and year)

Do you report RSV results on a publicly available website [other than NNDSS]?

Yes

No

Influenza testing

How many tests were undertaken at your lab for influenza? [Please estimate if unknown]

In the last 6 months: . . . . . . . . . .

In the last 12 months: . . . . . . . . . .

Do you routinely subtype influenza A viruses e.g. H1N1 or H3N2?

Yes

No

Do you routinely release results of subtyping influenza A positive samples?

Yes

No

What proportion of influenza A positives are subtyped? . . . . . . . . . . (Enter %)

What is the lab reporting process for influenza?

Directly to referring Dr

Patient

Notified to Department of Health

Other . . . . .

Are positive influenza results reported to the Australian National Notifiable Diseases Surveillance System?

Yes

No

When did you commence reporting to the NNDSS for influenza? . . . . . . . . . [enter month and year]

Do you report influenza results on a publicly available website [other than NNDSS]?

Yes

No

Human metapneumovirus (HMPV) testing

How many tests/ assays are undertaken at your lab for human metapneumovirus?

In the last 6 months: . . . . . . . . . .

In the last 12 months: . . . . . . . . . .

Do you routinely undertake human metapneumovirus subgroup testing?

Yes

No

Do you routinely release results of subgroup testing?

Yes

No

What proportion of human metapneumovirus testing get typed? . . . . . . . . . . (Enter %)

What is the lab reporting process for human metapneumovirus?

Directly to referring Dr

Patient

Notified to Department of Health

Other (please specify) . . . . .

SARS-CoV-2 testing

How many tests/ assays are undertaken at your lab for SARS-CoV-2?

In the last 6 months: . . . . . . . . . .

In the last 12 months: . . . . . . . . . .

What is the lab reporting process for SARS-CoV-2?

Directly to referring Dr

Patient

Notified to Department of Health

Other (please specify) . . . . .

Are positive SARS-CoV-2 results reported to the Australian National Notifiable Diseases Surveillance System?

Yes

No

When did you commence reporting to the NNDSS for SARS-CoV-2? . . . . . [enter month and year]

Do you report SARS-CoV-2 results on a publicly available website [other than NNDSS]?

Yes

No

The next section asks about the molecular based platforms used for respiratory testing in your laboratory.

Please answer for the number of platforms your laboratory uses.

For each platform used in your laboratory, please list the platform name, manufacturer and number of different tests used on this platform.

For example:

Platform name: GeneXpert

Manufacturer: Cepheid

Number of different tests used on this platform: e.g. 3

Please also tell us about the respiratory tests used on each platform. For each respiratory test used please list the test name, viruses detected and number of tests used in 2022.

For example:

Test name: Xpert® Xpress CoV-2/Flu/RSV

Viruses detected: SARS-CoV-2, influenza A/B and RSV

Number of tests used in 2022: 580

Platform One

For the first platform used in your laboratory, please list the

Platform name:

Manufacturer:

Number of different tests used on this platform:

Please tell us about the respiratory tests used on this first platform.

For the first respiratory test

Test name:

Viruses detected:

Number of tests used in 2022:

For the second respiratory test

Test name:

Viruses detected:

Number of tests used in 2022:

For the third respiratory kit

Kit name:

Viruses targeted:

Number of tests used in 2022:

For the fourth respiratory kit

Kit name:

Viruses targeted:

Number of tests used in 2022:

Platform Two

For the second platform used in your laboratory, please list the

Platform name:

Manufacturer:

Number of different tests used on this platform:

Please tell us about the respiratory tests used on this second platform.

For the first respiratory test used on this second platform please list the

Test name:

Viruses targeted:

Number of tests used in 2022:

For the second respiratory test used on this second platform please list the

Test name:

Viruses targeted:

Number of tests used in 2022:

For the third respiratory kit used on this second platform please list the

Kit name:

Viruses targeted:

Number of tests used in 2022:

For the fourth respiratory kit used on this second platform please list the

Kit name:

Viruses targeted:

Number of tests used in 2022:

Platform Three

For the third platform used in your laboratory, please list the

Platform name:

Manufacturer:

Number of different tests used on this platform:

Please tell us about the respiratory tests used on this third platform.

For the first respiratory test used on this third platform please list the

Test name:

Viruses targeted:

Number of tests used in 2022:

For the second respiratory test used on this third platform please list the

Test name:

Viruses targeted:

Number of tests used in 2022:

For the third respiratory kit used on this third platform please list the

Kit name:

Viruses targeted:

Number of tests used in 2022:

For the fourth respiratory kit used on this third platform please list the

Kit name:

Viruses targeted:

Number of tests used in 2022:

Platform Four

For the fourth platform used in your laboratory, please list the

Platform name:

Manufacturer:

Number of different tests used on this platform:

Please tell us about the respiratory tests used on this fourth platform.

For the first respiratory test used on this fourth platform please list the

Test name:

Viruses targeted:

Number of tests used in 2022:

For the second respiratory test used on this fourth platform please list the

Test name:

Viruses targeted:

Number of tests used in 2022:

For the third respiratory kit used on this fourth platform please list the

Kit name:

Viruses targeted:

Number of tests used in 2022:

For the fourth respiratory kit used on this fourth platform please list the

Kit name:

Viruses targeted:

Number of tests used in 2022:

Platform Five

For the fifth platform used in your laboratory, please list the

Platform name:

Manufacturer:

Number of different tests used on this platform:

Please tell us about the respiratory tests used on this fifth platform.

For the first respiratory test used on this fifth platform please list the

Test name:

Viruses targeted:

Number of tests used in 2022:

For the second respiratory test used on this fifth platform please list the

Test name:

Viruses targeted:

Number of tests used in 2022:

For the third respiratory kit used on this fifth platform please list the

Kit name:

Viruses targeted:

Number of tests used in 2022:

For the fourth respiratory kit used on this fifth platform please list the

Kit name:

Viruses targeted:

Number of tests used in 2022: